01.1b		Access audit form Weaverham Preschool

| ## Checked Area | Evident |  | Comments/Action i.e. further risk assessment to be undertaken |
| --- | --- | --- | --- |
| ###### Approach to the building | Yes | No |  |
| Are there disabled parking facilities? | Yes |  | On main school car park |
| Are kerbs lowered? | Yes |  | Yes all kerbs in preschool are low. |
| Is the entrance gate wide enough for wheelchair users? | Yes |  | One level flooring except for outdoor garden |
| Are there orientation landmarks for visual impairment? |  | No |  |
| Is the route clearly signed? | Yes |  |  |
| Are support rails/resting platforms provided on inclines? |  | No | All on one level (indoors) |
| Are all surface coverings, even and non-slip? | Yes |  | Outdoor area is on a slope |
| Are pathways clear of obstructions? | Yes |  | Daily Risk Assessments completed to check. |
| Are all areas adequately lit? | Yes |  | Outdoor lighting checked regularly by Weaverham Primary Academy & Preschool |
| Do steps and handrails accompany ramps? |  | No | No ramps in preschool premises. |
| Are steps suitable and highlighted for differentiation? |  | No | Only steps are in main entrance area. Only staff members use this area |
| Are resting platforms available and highlighted? |  | No |  |
| Are all surface coverings, even and non-slip? | Yes |  | Recent non slip flooring been put down in the Caterpillar Room. |
| Is there adequate lighting at the front and on the route to the building? | Yes |  | Outdoor lighting in entrance way |
| ##### Entrances | Yes | No |  |
| Is there an entry phone and/or a doorbell and is at a reasonable height for wheelchair users? |  | No | Door bell is quite high due to children having access. |
| Is there a level or flush threshold? | Yes |  |  |
| Are doors easy to open and doorways wide enough for all users to pass through and clear door swing? | Yes |  | Double doors in main entrance and primary school entrance |
| Are glazed doors marked for safety/visibility? | Yes |  |  |
| Door close mechanism appropriately adjusted (to ensure they do not close too quickly)? | Yes |  | Inner main doors close slowly |
| Door control (handle/knob) at a suitable height/clearly located and easy to use? | Yes | No | Some doors don’t have handles |
| Information on welcome board in a range of formats and at an appropriate height to suit varying needs? |  | No | Information board quite high up but a big board so it is easily visible from lower down. |
| Is the entrance signposted and easy to find? | Yes |  |  |
| Is the route to the destination clearly marked? |  | No |  |
| If applicable, is the doormat in a good condition and flush with floor? | Yes |  | Fitted into flooring so non slip or tripping hazard |
| If an induction loop is fitted, is it working? |  | No |  |
| Can people either side of the door be seen? | Yes |  | Upper door has glass |
| Are surfaces non-slip? | Yes |  | Carpet |
| Is lighting adequate? | Yes |  |  |
| ###### Inside the building | Yes | No |  |
| Are all floor surfaces suitable? | Yes |  | Carpet and non slip flooring |
| Are there colour and tonal contrast to help distinguish fixtures and fittings from surfaces, walls and floors? | yes |  |  |
| Is there a disabled WC facility no further than one floor away from the room being used? | Yes |  | Disabled toilet down corridor in primary school premises. |
| Handrails available at varying heights in the WC? | Yes |  |  |
| Support rails available in relevant areas? | Yes |  |  |
| Is the environment free from unnecessary noise? |  | No | Environment can be noisy due to having very young children on the premises. |
| Audible, manual and mechanical alarm systems supplemented with visual and verbal warnings? |  | No |  |
| Are all areas in the building wide enough for adults using mobility equipment to manoeuvre? | Yes |  | Wide corridors and large classrooms |
| Internal lobbies/doorways sufficient for manoeuvring? | Yes |  | Large entrance area |
| Fittings fixed without dangerous edges? | Yes |  | All low level furniture fitted with corner protectors. |
| Control of natural/artificial light to avoid glare/silhouettes and is lighting adequate? | Yes |  | Blinds fitted in both rooms |
| Clutter-free travel routes (coats, bags on floor) | Yes |  | Coat pegs for children’s belongings |
| Door control (handle) suitable height/clearly located and easy to use? | yes |  | Some doors do not have handles |
| Exit plan in place for children and adults with mobility requirements | yes |  | Fire Exit plans displayed in main area of preschool |